## R_data_CO2_mL_wide
jar_ID | 1.034 | 2.0771 | 2.9139 | 3.9306 | 5.0403 | 6.3562 | 7.2215 | 7.9569 | 9.9431 | 13.8896 | 20.1257
1 | 3.5989 | 9.2993 | 6.2653 | 5.4386 | 4.8573 | 3.9917 |  | 3.6559 | 4.5085 | 7.4926 | 8.2806
2 | 3.044 | 9.3195 | 6.8725 | 6.0586 | 4.9864 | 3.953 |  | 3.8367 | 4.3276 | 6.7562 | 7.6605
3 | 2.9647 | 9.3498 | 6.8079 | 5.4515 | 4.9218 | 4.0305 |  | 3.6429 | 4.5343 | 7.3117 | 8.9394
4 | 1.2208 | 0.61591 | 0.68467 | 0.43922 |  |  |  |  | 0.78801 |  | 1.9377
5 | 1.3595 | 0.63611 | 0.76218 | 0.43922 |  |  |  |  | 1.9507 |  | 1.744
6 | 1.5577 | 0.60582 | 0.86552 | 0.36171 |  |  |  |  | 2.0669 |  | 1.6665
7 | 2.6972 | 9.2488 | 7.0921 | 6.0586 | 4.6764 | 3.785 |  | 3.2037 | 4.1597 | 6.5237 | 7.6347
8 | 2.7765 | 9.2993 | 7.0534 | 5.9941 | 4.8185 | 3.7204 |  | 3.1133 | 3.8367 | 6.3041 | 7.893
9 | 2.6179 | 9.2185 | 6.8983 | 5.8003 | 4.5731 | 3.9013 |  | 3.6042 | 4.4568 | 7.1696 | 8.5389
10 | 2.1918 | 8.0069 | 6.2783 | 6.4979 | 5.3352 | 4.3276 |  | 3.4492 | 3.798 | 5.2577 | 5.7357
11 | 2.172 | 7.8655 | 6.5883 | 6.2524 | 5.4902 | 4.4955 |  | 3.7463 | 3.9013 | 5.1027 | 5.6194
12 | 1.9342 | 7.6636 | 6.4204 | 5.7874 | 5.3094 | 4.0951 |  | 3.5008 | 3.9401 | 5.6065 | 6.0199
13 | 2.8458 | 9.2589 | 6.5108 | 5.9165 | 5.0381 | 4.0305 |  | 3.5913 | 4.0176 | 6.4591 | 7.9576
14 | 3.2124 | 9.2892 | 6.472 | 6.5625 | 5.2448 | 4.4568 |  | 3.5396 | 3.7463 | 6.0457 | 7.3117
15 | 3.6881 | 9.2488 | 6.4204 | 6.5237 | 5.0639 | 4.2113 |  | 3.7592 | 4.0176 | 6.6012 | 7.3505
16 | 1.8679 | 7.29 | 5.4644 | 5.1415 | 5.1027 | 4.3405 |  | 2.9583 | 3.2296 | 4.7022 | 4.8443
17 | 1.9083 | 7.1789 | 5.3481 | 5.4644 | 4.8443 | 4.0563 |  | 3.475 | 3.4362 | 5.0898 | 4.7022
18 | 2.0194 | 7.5323 | 5.4902 | 5.2319 | 4.8573 | 3.6817 |  | 2.997 | 3.5138 | 4.7152 | 5.0381
19 | 0.47456 | 0.17165 | 0.7105 | 0.55548 |  |  |  |  | 1.8473 |  | 0.86552
20 | 0.61591 | 0.23223 | 0.67175 | 0.7105 |  |  |  |  | 1.6794 |  | 1.1239
21 | 0.57553 | 0.26252 | 0.62007 | 0.51673 |  |  |  |  | 1.6923 |  | 1.0076
22 | 8.5824 | 9.2791 | 7.4151 | 6.4333 | 5.529 | 5.2319 |  | 5.1415 | 5.0381 | 7.0792 | 7.0017
23 | 9.2589 | 9.1579 | 6.8467 | 6.162 | 5.6582 | 5.2706 |  | 5.3094 | 5.5419 | 6.9629 | 6.8208
24 | 8.9459 | 9.3195 | 7.1825 | 5.9295 | 5.6453 | 5.206 |  | 4.8702 | 4.8831 | 7.4021 | 8.3064
25 | 2.9786 | 1.0299 | 0.94303 | 0.78801 |  |  |  | 2.687 | 0.69758 |  | 2.8291
26 | 3.1502 | 0.9996 | 0.96887 | 0.89136 |  |  |  | 2.377 | 0.62007 |  | 2.7903
27 | 3.13 | 1.04 | 0.91719 | 0.78801 |  |  |  | 2.4028 | 0.68467 |  | 3.1908
28 | 7.1284 | 9.1882 | 6.6529 | 5.9424 | 5.3352 | 4.7022 |  | 4.6247 | 4.8056 | 6.8079 | 7.8543
29 | 7.8352 | 9.2387 | 7.2342 | 6.2783 | 5.5032 | 5.0252 |  | 5.5419 | 5.1415 | 7.0404 | 7.6218
30 | 6.2803 | 9.3195 | 7.2342 | 6.162 | 5.6453 | 5.0898 |  | 4.7539 | 4.6118 | 6.795 | 7.9189
31 | 7.8857 | 9.3498 | 6.8596 | 5.6194 | 5.1544 | 4.4568 |  | 3.8755 | 3.8884 | 5.5678 | 5.6969
32 | 6.1086 | 9.2084 | 7.0017 | 5.7615 | 5.3094 | 4.4955 |  | 4.1597 | 3.9788 | 5.5419 | 6.5108
33 | 7.3809 | 9.1478 | 6.3558 | 5.3223 | 4.9606 | 4.1209 |  | 3.8755 | 3.9013 | 5.7099 | 6.3687
34 | 9.481 | 9.2185 | 6.3041 | 5.2836 | 5.2577 | 4.8443 |  | 4.9477 | 4.8056 | 6.8725 | 6.7433
35 | 9.1983 | 9.2084 | 6.9758 | 6.1878 | 5.529 | 4.6893 |  | 4.3922 | 4.4955 | 6.6787 | 6.6271
36 | 8.643 | 9.2892 | 6.8467 | 6.0845 | 5.6711 | 4.8831 |  | 4.7022 | 4.7281 | 6.8337 | 8.5002
37 | 6.8053 | 9.0771 | 6.3558 | 5.4127 | 4.8314 | 4.2759 |  | 3.32 | 3.2941 | 4.2243 | 4.7927
38 | 5.1898 | 8.9762 | 6.3945 | 5.6969 | 4.9089 | 4.2113 |  | 3.3846 | 3.2941 | 4.586 | 5.1802
39 | 5.836 | 8.9358 | 6.317 | 5.2448 | 4.5472 | 3.9788 |  | 3.6171 | 3.5267 | 4.5731 | 5.2577
40 | 2.0598 | 0.61591 | 0.74926 | 0.78801 |  |  |  | 2.2349 |  | 1.7956 | 0.68467
41 | 2.0295 | 0.69669 | 0.69758 | 0.58132 |  |  |  | 1.8861 |  | 1.4598 | 0.59424
42 | 1.8376 | 0.62601 | 0.76218 | 0.54257 |  |  |  | 2.0023 |  | 1.5244 | 0.64591
43 | -0.16155 | -0.52504 | 0.19377 | 0.051673 | 0.45214 | 0.12918 |  | -0.33587 | -0.21961 | -0.064591 | -0.59424
44 | -0.3433 | -0.52504 | 0.23253 | 0.064591 | 0.50381 | 0.16794 |  | -0.45214 | -0.20669 | -0.54257 | -0.95595
45 | -0.37359 | -0.51494 | 0.23253 | -0.051673 | 0.58132 | -0.051673 |  | -0.52965 | -0.29712 | -0.012918 | -0.5684
46 | 0.061435 | 0.45436 | 7.6476 | 2.3382 |  |  | 2.2994 |  |  | 6.3041 | 6.6012
47 | 0 | 0 | 0.32296 | 0.012918 |  |  | 3.0875 |  |  |  | 8.3323
48 | 0.39834 | 0 | 0.38755 | 0.36171 |  |  | 3.3587 |  |  | 11.8202 | 12.8795
49 | 0 | 8.8651 | 2.4674 | 0.96887 |  |  | 1.9894 |  |  | 2.6353 | 9.8954
50 | 0 | 1.4439 | 7.5442 | 1.9119 |  |  | 2.1444 |  |  | 2.1703 | 8.1385
51 | 0.031708 | 0 | 0.077509 | 0.32296 |  |  | 5.2836 |  |  |  | 7.9189

## test trial with litter2 samples
jar_ID | soil | solution | solution_g | litter | rep | soil_weight_g | jar_weight_g | soil_jar_g | litter_added_mg | OC_g
1 | low | dw | 5.31 | y | 1 | 10.03 | 78.577 | 88.607 | 198.81 | 0.044111
2 | low | dw | 5.31 | y | 2 | 10.053 | 79.052 | 89.105 | 200.61 | 0.044178
3 | low | dw | 5.31 | y | 3 | 10.058 | 78.52 | 88.578 | 199.19 | 0.044102
4 | low | dw | 5.31 | n | 1 | 10.056 | 79.194 | 89.25 | 0 | 0.0342
5 | low | dw | 5.31 | n | 2 | 10.046 | 76.16 | 86.206 | 0 | 0.0342
6 | low | dw | 5.31 | n | 3 | 10.06 | 80.838 | 90.898 | 0 | 0.0342
7 | low | k20 | 5.31 | y | 1 | 10.043 | 80.559 | 90.602 | 199.14 | 0.044114
8 | low | k20 | 5.31 | y | 2 | 10.035 | 73.839 | 83.874 | 200.49 | 0.04419
9 | low | k20 | 5.31 | y | 3 | 10.04 | 78.571 | 88.611 | 199.96 | 0.044158
10 | low | k200 | 5.31 | y | 1 | 10.049 | 76.93 | 86.979 | 199.88 | 0.044145
11 | low | k200 | 5.31 | y | 2 | 10.055 | 80.501 | 90.556 | 200.44 | 0.044167
12 | low | k200 | 5.31 | y | 3 | 10.066 | 80.934 | 91 | 200.78 | 0.044173
13 | low | ca20 | 5.31 | y | 1 | 10.065 | 80.877 | 90.942 | 200.87 | 0.044179
14 | low | ca20 | 5.31 | y | 2 | 10.059 | 79.034 | 89.093 | 199.2 | 0.044102
15 | low | ca20 | 5.31 | y | 3 | 10.057 | 76.676 | 86.733 | 201.51 | 0.044218
16 | low | ca200 | 5.31 | y | 1 | 10.035 | 78.613 | 88.648 | 201.44 | 0.044237
17 | low | ca200 | 5.31 | y | 2 | 10.044 | 79.323 | 89.367 | 200.48 | 0.04418
18 | low | ca200 | 5.31 | y | 3 | 10.052 | 80.352 | 90.404 | 200.46 | 0.044171
19 | low | ca200 | 5.31 | n | 1 | 10.032 | 80.846 | 90.878 | 0 | 0.0342
20 | low | ca200 | 5.31 | n | 2 | 10.045 | 80.052 | 90.097 | 0 | 0.0342
21 | low | ca200 | 5.31 | n | 3 | 10.036 | 80.769 | 90.805 | 0 | 0.0342
22 | high | dw | 5.73 | y | 1 | 10.052 | 78.787 | 88.839 | 200.95 | 0.061896
23 | high | dw | 5.73 | y | 2 | 10.052 | 79.375 | 89.427 | 200.33 | 0.061865
24 | high | dw | 5.73 | y | 3 | 10.046 | 80.637 | 90.683 | 201.18 | 0.061913
25 | high | dw | 5.73 | n | 1 | 10.056 | 78.969 | 89.025 | 0 | 0.0519
26 | high | dw | 5.73 | n | 2 | 10.049 | 73.558 | 83.607 | 0 | 0.0519
27 | high | dw | 5.73 | n | 3 | 10.044 | 79.255 | 89.299 | 0 | 0.0519
28 | high | k20 | 5.73 | y | 1 | 10.043 | 80.437 | 90.48 | 200.47 | 0.061881
29 | high | k20 | 5.73 | y | 2 | 10.051 | 73.439 | 83.49 | 200.76 | 0.061887
30 | high | k20 | 5.73 | y | 3 | 10.039 | 79.405 | 89.444 | 201.22 | 0.061922
31 | high | k200 | 5.73 | y | 1 | 10.032 | 80.713 | 90.745 | 199.84 | 0.06186
32 | high | k200 | 5.73 | y | 2 | 10.028 | 78.599 | 88.627 | 200.18 | 0.061881
33 | high | k200 | 5.73 | y | 3 | 10.061 | 76.13 | 86.191 | 199.92 | 0.061835
34 | high | ca20 | 5.73 | y | 1 | 10.043 | 76.937 | 86.98 | 199.6 | 0.061837
35 | high | ca20 | 5.73 | y | 2 | 10.038 | 79.361 | 89.399 | 199.7 | 0.061847
36 | high | ca20 | 5.73 | y | 3 | 10.043 | 80.542 | 90.585 | 200.4 | 0.061877
37 | high | ca200 | 5.73 | y | 1 | 10.043 | 80.772 | 90.815 | 199.92 | 0.061853
38 | high | ca200 | 5.73 | y | 2 | 10.057 | 80.58 | 90.637 | 199.77 | 0.061832
39 | high | ca200 | 5.73 | y | 3 | 10.043 | 79.582 | 89.625 | 199.77 | 0.061846
40 | high | ca200 | 5.73 | n | 1 | 10.033 | 78.622 | 88.655 | 0 | 0.0519
41 | high | ca200 | 5.73 | n | 2 | 10.054 | 80.671 | 90.725 | 0 | 0.0519
42 | high | ca200 | 5.73 | n | 3 | 10.06 | 79.074 | 89.134 | 0 | 0.0519
43 | blank |  |  |  | 1 |  | 80.929 | 80.929 | 0
44 | blank |  |  |  | 2 |  | 73.505 | 73.505 | 0
45 | blank |  |  |  | 3 |  | 79.139 | 79.139 | 0
46 | litter | dw |  | y | 1 |  | 73.7 | 73.7 | 200.9
47 | litter | dw |  | y | 2 |  | 75.766 | 75.766 | 200.38
48 | litter | dw |  | y | 3 |  | 78.981 | 78.981 | 201.29
49 | litter | ca200 |  | y | 1 |  | 80.706 | 80.706 | 200.8
50 | litter | ca200 |  | y | 2 |  | 73.827 | 73.827 | 199.78
51 | litter | ca200 |  | y | 3 |  | 79.215 | 79.215 | 199.3

## test trial litter 2 10 jar redo
jar_id | soil | solution | soil weight (g) | jar weight (g) | soil+jar (g) | litter (mg) |  | 2019-11-18 14:11 | 2019-11-19 10:13 | 2019-11-20 16:15 | 2019-11-21 09:32 |  |  | 10 g soil + 25 mL DDW extract
1 | low | dw | 10.068 | 80.01 | 90.078 | 199.3 |  |  | 16.86 | 8.16 | 14.13 |  | jar_id | pH | EC
2 | low | k20 | 10.067 | 80.83 | 90.897 | 200.3 |  |  | 15.05 | 8.21 | 14.05 |  | 1 | 5.92 | 0.298
3 | low | k200 | 10.058 | 73.683 | 83.741 | 198.9 |  |  | 17.78 | 10.24 | 14.28 |  | 2 | 6.1 | 0.341
4 | low | ca20 | 10.059 | 79.117 | 89.176 | 199 | added 7.5 mL |  | 17.4 | 13.88 | 15.25 |  | 3 | 5.7 | 2.44
5 | low | ca200 | 10.054 | 73.597 | 83.651 | 198.8 |  |  | 17.49 | 9.27 | 14.85 |  | 4 | 6.35 | 0.564
6 | high | dw | 10.043 | 78.873 | 88.916 | 199.8 |  |  | 15.06 | 8.18 | 13.46 |  | 5 | 5.65 | 3.61 | to do - Exchangeable Ca
7 | high | k20 | 10.045 | 80.669 | 90.714 | 199.9 |  |  | 16.9 | 8.27 | 13.69 |  | 6 | 6.23 | 0.318
8 | high | k200 | 10.078 | 80.56 | 90.638 | 199.3 |  |  | 16.06 | 8.11 | 14.08 |  | 7 | 6.08 | 0.623
9 | high | ca20 | 10.056 | 79.173 | 89.229 | 199.5 | added 7.5 mL |  | 15.67 | 8.24 | 14.15 |  | 8 | 5.89 | 3.55
10 | high | ca200 | 10.038 | 73.569 | 83.607 | 200 |  |  | 15.75 | 8.28 | 14.46 |  | 9 | 6.29 | 0.642
stock/blank | [8 empty] | 18.99 | 18.46 | 18.6 |  | 10 | 5.8 | 3.98
[13 empty] | 11 low no litter | 6.44 | 0.0388
[13 empty] | 12 high no litter | 6.39 | 0.0411
|  |  |  | Ca | K | Mg | Na | EC (1:2.5) | pH |  | CEC
jar_ID | soil | solution | litter | mg/Kg |  |  |  | ms/cm |  | CNAL sample Id
11 | low | dw | n | 1190.94 | 47.86 | 98.72 | 52.24 | 0.0388 | 6.44 | 4 | 1389.76
1 | low | dw | y | 1383.4 | 274.25 | 168.62 | 50.27 | 0.298 | 5.92 | 1 | 1876.54
4 | low | ca20 | y | 1334.39 | 257.81 | 132 | 51.16 | 0.564 | 6.35 | 2 | 1775.36
5 | low | ca200 | y | 1614.27 | 217.42 | 67.26 | 50.72 | 3.61 | 5.65 | 3 | 1949.67 | 1439.96 | 4.0885
12 | high | dw | n | 2497.95 | 57.12 | 246.42 | 63.55 | 0.0411 | 6.39 | 8 | 2865.04 | 2.0615
6 | high | dw | y | 2532.22 | 209.36 | 312.85 | 60.55 | 0.318 | 6.23 | 5 | 3114.98
9 | high | ca20 | y | 2540.44 | 185.52 | 270.39 | 59.42 | 0.642 | 6.29 | 6 | 3055.77
10 | high | ca200 | y | 2810.49 | 163.98 | 160.27 | 55.45 | 3.98 | 5.8 | 7 | 3190.19 | 2676.07 | 5.6808

## test trial litter 2 measure
EC measurements | [13 empty] | soil_jar_wet_post_incubation_g
Jar_ID | 2019-11-11 11:15 | 2019-11-12 09:24 | 2019-11-12 12:04 | 2019-11-13 13:06 | 2019-11-14 09:11 | 2019-11-15 09:35 | 2019-11-16 12:13 | 2019-11-17 19:48 | 2019-11-18 16:34 | 2019-11-19 10:13 | 2019-11-21 09:53 | 2019-11-25 08:36 | 2019-12-01 14:16 | 94.161
1 |  | 13.79 |  | 8.16 | 13.36 | 14 | 14.45 | 15.12 |  | 15.38 | 14.72 | 12.41 | 11.8 | 95.041
2 |  | 14.35 |  | 8.14 | 12.89 | 13.52 | 14.35 | 15.15 |  | 15.24 | 14.86 | 12.98 | 12.28 | 94.914
3 |  | 14.43 |  | 8.11 | 12.94 | 13.99 | 14.4 | 15.09 |  | 15.39 | 14.7 | 12.55 | 11.29 | 94.63
4 | 2019-11-12 09:24: 16.19; 2019-11-13 13:06: 16.76; 2019-11-14 09:11: 17.68; 2019-11-15 09:35: 17.87; 2019-11-17 19:48: 17.06; 2019-11-21 09:53: 17.6; 2019-12-01 14:16: 16.71 | 91.637
5 | 2019-11-12 09:24: 16.05; 2019-11-13 13:06: 16.74; 2019-11-14 09:11: 17.62; 2019-11-15 09:35: 17.87; 2019-11-21 09:53: 16.7; 2019-12-01 14:16: 16.86 | 96.283
6 | 2019-11-12 09:24: 15.85; 2019-11-13 13:06: 16.77; 2019-11-14 09:11: 17.54; 2019-11-15 09:35: 17.93; 2019-11-21 09:53: 16.61; 2019-12-01 14:16: 16.92 | 96.225
7 |  | 14.7 |  | 8.21 | 12.72 | 13.52 | 14.59 | 15.28 |  | 15.73 | 14.99 | 13.16 | 12.3 | 89.435
8 |  | 14.62 |  | 8.16 | 12.75 | 13.57 | 14.48 | 15.33 |  | 15.8 | 15.24 | 13.33 | 12.1 | 94.229
9 |  | 14.78 |  | 8.24 | 12.87 | 13.72 | 14.67 | 15.19 |  | 15.42 | 14.76 | 12.66 | 11.6 | 92.676
10 |  | 15.21 |  | 9.44 | 13.35 | 13.18 | 14.08 | 14.86 |  | 15.54 | 15.27 | 14.14 | 13.77 | 96.187
11 |  | 15.23 |  | 9.58 | 13.11 | 13.37 | 13.96 | 14.73 |  | 15.31 | 15.19 | 14.26 | 13.86 | 96.68
12 |  | 15.47 |  | 9.78 | 13.24 | 13.73 | 14.1 | 15.04 |  | 15.5 | 15.16 | 13.87 | 13.55 | 96.562
13 |  | 14.55 |  | 8.2 | 13.17 | 13.63 | 14.31 | 15.09 |  | 15.43 | 15.1 | 13.21 | 12.05 | 94.698
14 |  | 14.18 |  | 8.17 | 13.2 | 13.13 | 14.15 | 14.76 |  | 15.47 | 15.31 | 13.53 | 12.55 | 92.45
15 |  | 13.7 |  | 8.21 | 13.24 | 13.16 | 14.29 | 14.95 |  | 15.3 | 15.1 | 13.1 | 12.52 | 94.397
16 |  |  | 15.52 | 10.15 | 13.98 | 14.23 | 14.26 | 14.85 |  | 15.92 | 15.71 | 14.57 | 14.46 | 95.186
17 |  |  | 15.48 | 10.26 | 14.07 | 13.98 | 14.46 | 15.07 |  | 15.52 | 15.55 | 14.27 | 14.57 | 96.155
18 |  |  | 15.37 | 9.91 | 13.96 | 14.16 | 14.45 | 15.36 |  | 15.89 | 15.49 | 14.56 | 14.31 | 96.499
19 | 2019-11-12 12:04: 16.9; 2019-11-13 13:06: 17.2; 2019-11-14 09:11: 17.66; 2019-11-15 09:35: 17.78; 2019-11-21 09:53: 16.78; 2019-12-01 14:16: 17.54 | 95.66
20 | 2019-11-12 12:04: 16.76; 2019-11-13 13:06: 17.14; 2019-11-14 09:11: 17.69; 2019-11-15 09:35: 17.66; 2019-11-21 09:53: 16.91; 2019-12-01 14:16: 17.34 | 96.231
21 | 2019-11-12 12:04: 16.8; 2019-11-13 13:06: 17.11; 2019-11-14 09:11: 17.73; 2019-11-15 09:35: 17.81; 2019-11-21 09:53: 16.9; 2019-12-01 14:16: 17.43 | 94.324
22 |  |  | 8.87 | 8.18 | 12.47 | 13.23 | 13.93 | 14.16 |  | 14.23 | 14.31 | 12.73 | 12.79 | 94.862
23 |  |  | 8.2 | 8.3 | 12.91 | 13.44 | 13.83 | 14.13 |  | 14.1 | 13.92 | 12.82 | 12.93 | 96.361
24 |  |  | 8.51 | 8.14 | 12.65 | 13.62 | 13.84 | 14.18 |  | 14.44 | 14.43 | 12.48 | 11.78 | 94.343
25 | 2019-11-12 12:04: 14.42; 2019-11-13 13:06: 16.35; 2019-11-14 09:11: 17.48; 2019-11-15 09:35: 17.6; 2019-11-19 10:13: 16.13; 2019-11-21 09:53: 17.67; 2019-12-01 14:16: 16.02 | 88.94
26 | 2019-11-12 12:04: 14.25; 2019-11-13 13:06: 16.38; 2019-11-14 09:11: 17.46; 2019-11-15 09:35: 17.52; 2019-11-19 10:13: 16.37; 2019-11-21 09:53: 17.73; 2019-12-01 14:16: 16.05 | 94.549
27 | 2019-11-12 12:04: 14.27; 2019-11-13 13:06: 16.34; 2019-11-14 09:11: 17.5; 2019-11-15 09:35: 17.6; 2019-11-19 10:13: 16.35; 2019-11-21 09:53: 17.68; 2019-12-01 14:16: 15.74 | 96.078
28 |  |  | 10.31 | 8.27 | 13.06 | 13.61 | 14.08 | 14.57 |  | 14.63 | 14.49 | 12.94 | 12.13 | 88.971
29 |  |  | 9.61 | 8.22 | 12.61 | 13.35 | 13.95 | 14.32 |  | 13.92 | 14.23 | 12.76 | 12.31 | 94.891
30 |  |  | 11.15 | 8.14 | 12.61 | 13.44 | 13.84 | 14.27 |  | 14.53 | 14.64 | 12.95 | 12.08 | 96.275
31 |  |  | 9.56 | 8.11 | 12.9 | 13.86 | 14.22 | 14.76 |  | 15.21 | 15.2 | 13.9 | 13.8 | 94.151
32 |  |  | 11.32 | 8.25 | 12.79 | 13.75 | 14.1 | 14.73 |  | 14.99 | 15.13 | 13.92 | 13.17 | 91.76
33 |  |  | 10.06 | 8.31 | 13.29 | 14.09 | 14.37 | 15.02 |  | 15.21 | 15.19 | 13.79 | 13.28 | 92.518
34 |  |  | 7.98 | 8.24 | 13.33 | 14.12 | 14.14 | 14.46 |  | 14.38 | 14.49 | 12.89 | 12.99 | 94.93
35 |  |  | 8.26 | 8.25 | 12.81 | 13.42 | 13.93 | 14.58 |  | 14.81 | 14.73 | 13.04 | 13.08 | 96.105
36 |  |  | 8.81 | 8.17 | 12.91 | 13.5 | 13.82 | 14.43 |  | 14.57 | 14.55 | 12.92 | 11.63 | 96.407
37 |  |  | 10.63 | 8.38 | 13.29 | 14.02 | 14.47 | 14.9 |  | 15.64 | 15.66 | 14.94 | 14.5 | 96.221
38 |  |  | 12.23 | 8.48 | 13.26 | 13.8 | 14.41 | 14.95 |  | 15.59 | 15.66 | 14.66 | 14.2 | 95.299
39 |  |  | 11.59 | 8.52 | 13.32 | 14.15 | 14.69 | 15.13 |  | 15.41 | 15.48 | 14.67 | 14.14 | 94.096
40 | 2019-11-12 12:04: 15.33; 2019-11-13 13:06: 16.76; 2019-11-14 09:11: 17.63; 2019-11-15 09:35: 17.6; 2019-11-19 10:13: 16.48; 2019-11-25 08:36: 16.82; 2019-12-01 14:16: 17.68 | 96.14
41 | 2019-11-12 12:04: 15.36; 2019-11-13 13:06: 16.68; 2019-11-14 09:11: 17.67; 2019-11-15 09:35: 17.76; 2019-11-19 10:13: 16.75; 2019-11-25 08:36: 17.08; 2019-12-01 14:16: 17.75 | 94.57
42 | 2019-11-12 12:04: 15.55; 2019-11-13 13:06: 16.75; 2019-11-14 09:11: 17.62; 2019-11-15 09:35: 17.79; 2019-11-19 10:13: 16.66; 2019-11-25 08:36: 17.03; 2019-12-01 14:16: 17.71
43 |  |  | 17.53 | 17.89 | 18.06 | 18.17 | 17.86 | 18.11 |  | 18.47 | 18.38 | 18.26 | 18.67
44 |  |  | 17.71 | 17.89 | 18.03 | 18.16 | 17.82 | 18.08 |  | 18.56 | 18.37 | 18.63 | 18.95
45 |  |  | 17.74 | 17.88 | 18.03 | 18.25 | 17.76 | 18.25 |  | 18.62 | 18.44 | 18.22 | 18.65 | 78.748
46 | 2019-11-12 09:24: 17.36; 2019-11-13 13:06: 16.92; 2019-11-14 09:11: 12.29; 2019-11-15 09:35: 16.4; 2019-11-18 16:34: 16.43; 2019-11-25 08:36: 13.33; 2019-12-01 14:16: 13.1 | 80.822
47 | 2019-11-12 09:24: 17.5; 2019-11-13 13:06: 17.92; 2019-11-14 09:11: 17.96; 2019-11-15 09:35: 18.2; 2019-11-18 16:34: 15.82; 2019-11-25 08:36: 8; 2019-12-01 14:16: 11.76 | 84.043
48 | 2019-11-12 09:24: 17.02; 2019-11-13 13:06: 17.9; 2019-11-14 09:11: 17.91; 2019-11-15 09:35: 17.93; 2019-11-18 16:34: 15.61; 2019-11-25 08:36: 9.06; 2019-12-01 14:16: 8.24 | 86.525
49 | 2019-11-12 09:24: 17.59; 2019-11-13 13:06: 8.59; 2019-11-14 09:11: 16.3; 2019-11-15 09:35: 17.46; 2019-11-18 16:34: 16.67; 2019-11-25 08:36: 16.17; 2019-12-01 14:16: 10.55 | 79.608
50 | 2019-11-12 09:24: 17.55; 2019-11-13 13:06: 15.94; 2019-11-14 09:11: 12.37; 2019-11-15 09:35: 16.73; 2019-11-18 16:34: 16.55; 2019-11-25 08:36: 16.53; 2019-12-01 14:16: 11.91 | 85.001
51 | 2019-11-12 09:24: 17.39; 2019-11-13 13:06: 17.96; 2019-11-14 09:11: 18.15; 2019-11-15 09:35: 17.96; 2019-11-18 16:34: 14.12; 2019-11-25 08:36: 8.84; 2019-12-01 14:16: 12.08
KOH stock | 18.27 |  |  | 18.32 | 18.37 | 18.34 | 18.48 | 18.39 |  | 18.45 | 19.16 | 18.95 | 18.95
intercept |  | 17.422 | 17.37 | 17.37 | 18.21 | 18.21 | 18.21 | 18.21 | 18.21 | 18.21 | 18.21 | 18.21
coefficient |  | -1.0092 | -0.9904 | -0.9904 | -0.7741 | -0.7741 | -0.7741 | -0.7741 | -0.7741 | -0.7741 | -0.7741 | -0.7741
intercept/blank |  |  | 0.98358 | 0.97111 | 1.0094 | 1.0009 | 1.0223 | 1.0035 |  | 0.98167 | 0.98985 | 0.99129
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: added 15 mL KOH because EC dropped too low Also - here I took CaBl2 samples
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: this is with 15 mL KOH new cal curve needed
Note on L2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: took BaCl2 samples
Note on E60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: added 15 mL KOH because EC dropped too low Also - here I took CaBl2 samples
Note on F60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: this is with 15 mL KOH new cal curve needed

## DOC MBC
jar_no | soil | solution | litter | sample_ID | jar_no | soil | solution | litter | fumigated | weight_g | K2SO4 0.05M (mL)
1 | low | dw | y | 1 | 1 | low | dw | y | n | 4.985 | 50
2 | low | dw | n | 2 | 1 | low | dw | y | n | 5.035 | 50
3 | low | k20 | y | 3 | 1 | low | dw | y | n | 5.038 | 50
4 | low | k200 | y | 4 | 2 | low | dw | y | n | 4.99 | 50
5 | low | ca20 | y | 5 | 2 | low | dw | y | n | 5.008 | 50
6 | low | ca200 | y | 6 | 2 | low | dw | y | n | 4.734 | 50
7 | low | ca200 | n | 7 | 3 | low | k20 | y | n | 4.981 | 50
8 | high | dw | y | 8 | 3 | low | k20 | y | n | 4.973 | 50
9 | high | dw | n | 9 | 3 | low | k20 | y | n | 5.02 | 50
10 | high | k20 | y | 10 | 4 | low | k200 | y | n | 5.024 | 50
11 | high | k200 | y | 11 | 4 | low | k200 | y | n | 4.973 | 50
12 | high | ca20 | y | 12 | 4 | low | k200 | y | n | 5.038 | 50
13 | high | ca200 | y | 13 | 5 | low | ca20 | y | n | 5.045 | 50
14 | high | ca200 | n | 14 | 5 | low | ca20 | y | n | 5.001 | 50
|  |  |  | 15 | 5 | low | ca20 | y | n | 4.995 | 50
|  |  |  | 16 | 6 | low | ca200 | y | n | 4.975 | 50
|  |  |  | 17 | 6 | low | ca200 | y | n | 4.969 | 50
|  |  |  | 18 | 6 | low | ca200 | y | n | 5.046 | 50
|  |  |  | 19 | 7 | low | ca200 | n | n | 5.035 | 50
|  |  |  | 20 | 7 | low | ca200 | n | n | 5.004 | 50
|  |  |  | 21 | 7 | low | ca200 | n | n | 4.99 | 50
|  |  |  | 22 | 8 | high | dw | y | n | 4.97 | 50
|  |  |  | 23 | 8 | high | dw | y | n | 4.985 | 50
|  |  |  | 24 | 8 | high | dw | y | n | 4.972 | 50
|  |  |  | 25 | 9 | high | dw | y | n | 5.018 | 50
|  |  |  | 26 | 9 | high | dw | y | n | 5.025 | 50
|  |  |  | 27 | 9 | high | dw | y | n | 4.377 | 50
|  |  |  | 28 | 10 | high | k20 | y | n | 4.976 | 50
|  |  |  | 29 | 10 | high | k20 | y | n | 4.998 | 50
|  |  |  | 30 | 10 | high | k20 | y | n | 4.763 | 50
|  |  |  | 31 | 11 | high | k200 | y | n | 4.99 | 50
|  |  |  | 32 | 11 | high | k200 | y | n | 5.012 | 50
|  |  |  | 33 | 11 | high | k200 | y | n | 4.834 | 50
|  |  |  | 34 | 12 | high | ca20 | y | n | 5.021 | 50
|  |  |  | 35 | 12 | high | ca20 | y | n | 4.923 | 50
|  |  |  | 36 | 12 | high | ca20 | y | n | 4.842 | 50
|  |  |  | 37 | 13 | high | ca200 | y | n | 5.023 | 50
|  |  |  | 38 | 13 | high | ca200 | y | n | 5.014 | 50
|  |  |  | 39 | 13 | high | ca200 | y | n | 4.992 | 50
|  |  |  | 40 | 14 | high | ca200 | n | n | 4.917 | 50
|  |  |  | 41 | 14 | high | ca200 | n | n | 5.04 | 50
|  |  |  | 42 | 14 | high | ca200 | n | n | 4.948 | 50
|  |  |  | 43 | unfumigated blank | [5 empty] | 50
|  |  |  | 44 | 1 | low | dw | y | y | 5.006 | 50
|  |  |  | 45 | 1 | low | dw | y | y | 4.966 | 50
|  |  |  | 46 | 1 | low | dw | y | y | 4.999 | 50
|  |  |  | 47 | 2 | low | dw | y | y | 4.978 | 50
|  |  |  | 48 | 2 | low | dw | y | y | 4.997 | 50
|  |  |  | 49 | 2 | low | dw | y | y | 5.001 | 50
|  |  |  | 50 | 3 | low | k20 | y | y | 4.973 | 50
|  |  |  | 51 | 3 | low | k20 | y | y | 5.001 | 50
|  |  |  | 52 | 3 | low | k20 | y | y | 5.007 | 50
|  |  |  | 53 | 4 | low | k200 | y | y |  | 50
|  |  |  | 54 | 4 | low | k200 | y | y | 4.98 | 50
|  |  |  | 55 | 4 | low | k200 | y | y | 5.007 | 50
|  |  |  | 56 | 5 | low | ca20 | y | y | 4.974 | 50
|  |  |  | 57 | 5 | low | ca20 | y | y | 5.008 | 50
|  |  |  | 58 | 5 | low | ca20 | y | y | 4.987 | 50
|  |  |  | 59 | 6 | low | ca200 | y | y | 4.992 | 50
|  |  |  | 60 | 6 | low | ca200 | y | y | 4.971 | 50
|  |  |  | 61 | 6 | low | ca200 | y | y | 4.978 | 50
|  |  |  | 62 | 7 | low | ca200 | n | y | 4.974 | 50
|  |  |  | 63 | 7 | low | ca200 | n | y | 5.031 | 50
|  |  |  | 64 | 7 | low | ca200 | n | y | 4.975 | 50
|  |  |  | 65 | 8 | high | dw | y | y | 4.985 | 50
|  |  |  | 66 | 8 | high | dw | y | y | 5.031 | 50
|  |  |  | 67 | 8 | high | dw | y | y | 4.985 | 50
|  |  |  | 68 | 9 | high | dw | y | y | 4.986 | 50
|  |  |  | 69 | 9 | high | dw | y | y | 5.001 | 50
|  |  |  | 70 | 9 | high | dw | y | y | 4.996 | 50
|  |  |  | 71 | 10 | high | k20 | y | y | 4.979 | 50
|  |  |  | 72 | 10 | high | k20 | y | y | 4.99 | 50
|  |  |  | 73 | 10 | high | k20 | y | y | 4.984 | 50
|  |  |  | 74 | 11 | high | k200 | y | y | 5.024 | 50
|  |  |  | 75 | 11 | high | k200 | y | y | 4.992 | 50
|  |  |  | 76 | 11 | high | k200 | y | y | 5.008 | 50
|  |  |  | 77 | 12 | high | ca20 | y | y | 4.993 | 50
|  |  |  | 78 | 12 | high | ca20 | y | y | 4.984 | 50
|  |  |  | 79 | 12 | high | ca20 | y | y | 4.992 | 50
|  |  |  | 80 | 13 | high | ca200 | y | y | 4.988 | 50
|  |  |  | 81 | 13 | high | ca200 | y | y | 4.978 | 50
|  |  |  | 82 | 13 | high | ca200 | y | y | 4.988 | 50
|  |  |  | 83 | 14 | high | ca200 | n | y | 4.979 | 50
|  |  |  | 84 | 14 | high | ca200 | n | y | 4.981 | 50
|  |  |  | 85 | 14 | high | ca200 | n | y | 4.981 | 50
|  |  |  | 86 | fumigated blank | [5 empty] | 50

## calibration curves
10 mL KOH cal curve |  |  |  | 15 mL KOH cal curve
2019-11-12 |  | 2019-11-12 |  | 2019-11-14
CO2 (mL) | EC (mS/cm) |  |  | jar | CO2(mL) | EC(mS/cm)
0.25 | 17.25 |  |  |  | 0 | 18.15
0.5 | 16.83 |  |  | 1 | 1 | 17.5
1 | 16.48 |  |  | 2 | 1.5 | 17.15
1.5 | 16.05 |  |  | 3 | 2 | 16.74
2 | 15.08 |  |  | 4 | 2.5 | 16.24
2.5 | 14.85 |  |  | 5 | 3 | 16.12
3 | 14.48 |  |  | 6 | 3.5 | 15.55
4 | 13.53 | CO2 (mL) | EC | 7 | 4 | 15.05
5 | 12.33 | 5 | 12.57 | 8 | 5 | 14.55
6 | 11.35 | 6 | 11.48 | 9 | 7 | 13
6.5 | 10.81 | 6.5 | 10.81 | 10 | 8 | 12.3
7 | 10.34 | 7 | 10.34
7.5 | 9.82 | 7.5 | 9.82
8 | 9.44 | 8 | 9.44
8.5 | 8.93 | 8.5 | 8.93
9 | 8.55 | 9 | 8.55
9.5 | 8.21 | 9.5 | 8.21
10 | 8.11 | 10 | 8.11

## LOI of low mid high soils
ID | soil | pan_g | soil_oven_g | pan_oven_soil_g | pan_ashed_soil_g | %SOM_LOI | avg_SOM | avg_SOC
1 | l | 32.558 | 12.142 | 44.7 | 43.964 | 6.0616 | 6.344 | 3.4155 | 0.736
2 | l | 32.631 | 6.697 | 39.328 | 38.952 | 5.6145
3 | l | 31.157 | 4.826 | 35.983 | 35.628 | 7.356
4 | m | 28.253 | 6.979 | 35.232 | 34.687 | 7.8091 | 8.0066 | 4.3016
5 | m | 29.385 | 9.245 | 38.63 | 37.895 | 7.9502
6 | m | 28.274 | 9.842 | 38.116 | 37.303 | 8.2605
7 | h | 30.083 | 11.769 | 41.852 | 40.725 | 9.576 | 9.6754 | 5.1909
8 | h | 31.995 | 9.402 | 41.397 | 40.505 | 9.4873
9 | h | 28.085 | 4.045 | 32.13 | 31.727 | 9.9629
I also sent duplicates to COIL on 11.13.19
sample_ID | soil
1 | low
2 | low
3 | mid
4 | mid
5 | high
6 | high

## WFPS calculation
Tube ID | Sample_ID | soil (g) | PVC_screen tube _moist filter paper (g) | PVC_screen tube _filter paper_sample_before saturating (g) | calc total mass | calc_soil_mass | soil_mass_percent_error | PVC_screen tube _filter paper_sample_saturated weight (g) | water_sat_g | theta_sat | 10g_60percent_WFPS | PVC_screen tube _filter paper_sample_after draining (g) | Soil@FC (g) | Water@FC (g) | Water/DrySoil @FC (fraction) | Water/DrySOil @55%FC (fraction) | Mean Water(Reps1,2,3)/DrySOil @55%FC (fraction) | Water to add to jars with 10 soil (g) | Water to add to jars with 10.4 g sand-biochar/biomass mix(g) | Soil | water_60per_fieldcap 10g_soil | water_60per_WFPS 10g_soil
10 | low soil | 10.032 | 40.007 | 50.044 | 50.039 | 10.032 | 0.049841 | 58.772 | 8.728 | 0.87002 | 5.2201 | 57.887 | 17.88 | 7.843 | 0.7818 | 0.42999 | 0.45047 | 4.5047 | 4.6849 | low | 4.9222 | 5.3074
13 | low soil | 10.025 | 39.674 | 49.661 | 49.699 | 10.025 | -0.37905 | 58.287 | 8.626 | 0.86045 | 5.1627 | 57.656 | 17.982 | 7.995 | 0.79751 | 0.43863
18 | low soil | 10.084 | 38.7 | 48.829 | 48.784 | 10.084 | 0.44625 | 58.139 | 9.31 | 0.92324 | 5.5395 | 57.681 | 18.981 | 8.852 | 0.87783 | 0.4828
21 | mid soil | 10.187 | 38.822 | 48.952 | 49.009 | 10.187 | -0.55954 | 58.992 | 10.04 | 0.98557 | 5.9134 | 58.366 | 19.544 | 9.414 | 0.92412 | 0.50827 | 0.49452 | 4.9452 | 5.143 | mid | 5.3606 | 5.7682
24 | mid soil | 10.06 | 38.866 | 48.85 | 48.926 | 10.06 | -0.75547 | 58.134 | 9.284 | 0.92286 | 5.5372 | 57.653 | 18.787 | 8.803 | 0.87505 | 0.48128
26 | mid soil | 10.117 | 39.081 | 49.125 | 49.198 | 10.117 | -0.72156 | 58.996 | 9.871 | 0.97568 | 5.8541 | 58.212 | 19.131 | 9.087 | 0.89819 | 0.49401
31 | high soil | 9.996 | 38.878 | 48.812 | 48.874 | 9.996 | -0.62025 | 58.172 | 9.36 | 0.93637 | 5.6182 | 57.551 | 18.673 | 8.739 | 0.87425 | 0.48084 | 0.48775 | 4.8775 | 5.0726 | high | 5.3585 | 5.7251
33 | high soil | 10.091 | 39.556 | 49.556 | 49.647 | 10.091 | -0.90179 | 59.498 | 9.942 | 0.98523 | 5.9114 | 58.79 | 19.234 | 9.234 | 0.91507 | 0.50329
34 | high soil | 10.112 | 39.292 | 49.408 | 49.404 | 10.112 | 0.039557 | 58.923 | 9.515 | 0.94096 | 5.6458 | 58.217 | 18.925 | 8.809 | 0.87114 | 0.47913
Note on I1: Kelly L. Hanley: "once it stops dripping"